January 2014

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5617 BA Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2808 Fax: +65 6571 2699 apr.securitysystems@bosch.com www.boschsecurity.asia |
| --- | --- | --- |

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat 2004 and The Project Resource Manual—CSI Manual of Practice. The Manufacturer is responsible for technical accuracy.

The section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Words and sentences within brackets [ ] are choices to include or exclude a particular item or statement.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

SECTION 28 23 29

VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

Bosch FLEXIDOME IP micro 5000 HD camera

- – GENERAL

  - SUMMARY

    - Section Includes

      - Video Surveillance Remote Devices.

    - Related Sections

      - Section [28 23 13 – Video Surveillance Control and Management Systems].

      - Section [28 23 16 – Video Surveillance Monitoring and Supervisory Interfaces].

      - Section [28 23 19 – Digital Video Recorders and Analog Recording Devices].

      - Section [28 23 23 – Video Surveillance Systems Infrastructure].

**********Specifier’s note: Include those standards referenced elsewhere in this SECTION.

  - REFERENCES

    - Australia and New Zealand Standards

      - AS/NZS CISPR 22 Information technology equipment - Radio disturbance characteristics - Limits and methods of measurement

      - Conforms to C-tick standards

    - Canadian Standards Association (CSA)

      - CAN/CSA-C22.2 No. 60950-1 Information Technology Equipment - Safety - Part 1: General Requirements (Bi-National standard, with UL 60950-1)

      - Conforms to cUL standards

    - European Norm

      - EN 50121-4:2006 Railway Applications - Electromagnetic Compatibility - Part 4: Emission And Immunity Of The Signaling And Telecommunications Apparatus

      - EN50121-3-2: Railway Applications - Electromagnetic compatibility Part 3-2: Rolling stock - Apparatus

      - EMC directive 2004/108/EC

      - EN 50130-4:1995+A1:1998+A2:2003 (CE) Alarm Systems, Part 4 – Electromagnetic Compatibility – Product Family Standard: Immunity Requirements for Components of Fire, Intruder and Social Alarm Systems.

      - EN 50130-5: Alarm Systems, Part 5 – Environmental Test Methods (corresponds with VDE 0830 parts 1-5), level 3

      - EN 50132-5-2: Alarm systems - CCTV surveillance systems for use in security applications - Part 5-2: IP Video Transmission Protocols

      - EN 55022, Class B – Information Technology Equipment – Radio Disturbance Characteristics – Limits and Methods of Measurement for Emission

      - EN 55024 Information technology equipment. Immunity characteristics. Limits and methods of measurement

      - EN 55025 Radio disturbance characteristics for the protection of receivers used on board vehicles, boats and on devices

      - EN60950-1 – Safety of information technology equipment (IT Equipment)

      - CE Automotive environment

      - CE Declaration of Conformity

      - CB scheme

      - EN 50155: Vibrations, mechanical shock and temperature

    - Federal Communications Commission (FCC) (www.fcc.gov)

      - FCC CFR 47 part 15; subpart B, Class B Digital Devices

    - Industry Canada

      - ICES-003 Class B Spectrum Management and Telecommunications Policy Interference-Causing Equipment Standard

    - International Electrotechnical Commission (IEC):

      - IEC 62676-2-3: Video surveillance systems for use in security applications – Part 2-3: Video transmission protocols – IP interoperability implementation based on WEB services.

    - International Organization for Standardization (ISO)

      - 9001: Quality System

      - 16750-3: Road vehicles - Environmental conditions and testing for electrical and electronic equipment - Part 3: Mechanical loads

    - Underwriters Laboratories, Inc. (UL) (www.ul.com)

      - UL 60950-1 UL Standard for Safety of Information Technology Equipment

      - UL 60950-22 Information Technology Equipment – Safety - Part 22: Equipment to be installed outdoors

    - Voluntary Control Council for Interference (VCCI)

      - VCCI J55022 V2/V3

  - DEFINITIONS

    - Sensitivity: refers to the minimum level of light the sensor needs to generate an acceptable video picture, and is measured in lux.

    - Day/Night (infrared sensitive): The camera has normal color operation in situations where there is sufficient illumination (day conditions), but when there is little light available (night conditions) the sensitivity is increased.

    - iDNR (intelligent Dynamic Noise Reduction): The Intelligent Dynamic Noise Reduction applies temporal noise filtering when no motion is detected. The filtering reduces the noise in the image and this makes the encoder step more effective.

  - SYSTEM DESCRIPTION

    - Video Surveillance Remote Devices

      - NUC-51022-F4 FLEXIDOME IP micro 5000 HD camera

    - Performance Requirements

      - Complete vandal-resistant outdoor network video surveillance system inside a microdome camera.

      - 1080p resolution.

      - Intelligent Dynamic Noise Reduction (iDNR) technology.

      - 3.6 mm fixed board-mounted lens.

      - Electronic day/night function.

      - Quad-streaming: Simultaneous dual H.264 streams, an M-JPEG stream and an I-frame stream.

      - Micro SDHC/SDXC card slot for edge recording up to 2 TB.

      - ONVIF conformant.

      - Power over Ethernet (IEEE 802.3af compliant).

      - IK08 and IP66 protection

  - SUBMITTALS

    - Submit under provisions of Section [01 33 00].

    - Product Data:

      - Manufacturer’s data, user and installation manuals for all equipment and software programs including computer equipment and other equipment required for complete video management system.

    - Shop Drawings; include

      - System device locations on architectural floor plans.

      - Full Schematic of system, including wiring information for all devices.

    - Closeout Submittals

      - User manual.

      - Parts list.

      - System device locations on architectural floor plans.

      - Wiring and connection diagram.

      - Maintenance requirements.

  - QUALITY ASSURANCE

    - Manufacturer:

      - Minimum of [10] years experience in manufacture and design Video Surveillance Devices.

      - Manufacturer’s quality system: Registered to ISO 9001 Quality Standard.

    - Video Surveillance System

      - Listed by [UL] [EN] [FCC] specifically for the required loads.  Provide evidence of compliance upon request.

    - Installer:

      - Minimum of [5] years experience installing Video Surveillance Systems.

  - DELIVERY, STORAGE AND HANDLING

    - Comply with requirements of Section [01 60 00].

    - Deliver materials in manufacture’s original, unopened, undamaged containers; and unharmed original identification labels.

    - Protect store materials from environmental and temperature conditions following manufacturer’s instructions.

    - Handle and operate products and systems according to manufacturer’s instructions.

    - Bosch provides off-the-shelf availability for our top selling products and same-day or 24-hour shipping.

  - WARRANTY

    - Provide manufacturer’s warranty covering [3] years for replacement and repair of defective equipment.

  - MAINTENANCE

    - Make ordering of new equipment for expansions, replacements, and spare parts available to dealers and end users.

    - Provide factory direct technical support from 8:00 a.m. to 8:00 p.m. via phone and e-mail.

- – PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 1450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5617 BA Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2808

Fax: +65 6571 2699

apr.securitysystems@bosch.com

www.boschsecurity.com]

    - Substitutions: [Not permitted.] [Under provisions of Division 1.]

      - [All proposed substitutions must be approved by the Architect or Engineer professional.]

      - [Proposed substitutions must provide a line-by-line compliance documentation.]

**********Specifier’s note: Select Camera System Series based on project requirement.

  - FLEXIDOME IP micro 5000 HD [NUC-51022-F4]

    - General Characteristics:

      - The camera shall offer 1080p resolution at 16:9 aspect ratio.

      - The camera shall offer tamper and intelligent motion detection.

      - The camera shall utilize Intelligent Dynamic Noise Reduction (iDNR) technology to reduce the bitrate and storage requirements by removing noise artifacts.

      - The camera shall accept power via Power over Ethernet (IEEE 802.3af compliant).

      - The camera shall be easy to install.

      - The camera shall provide four independent, fully programmable privacy masks.

      - The camera shall provide a user-defined Region-of-Interest (ROI) with electronic pan, tilt and zoom controls.

    - Imaging Requirements

      - The camera shall offer a 1/2.7-inch CMOS image sensor.

      - The camera shall offer a video resolution of 1080p @30 fps.

      - The camera shall offer 1920 x 1080 sensor pixels.

      - The camera shall be fitted with a board-mounted fixed 3.6 mm, F1.6 lens with a lens view angle of 97° (H) x 50.5° (V).

      - The camera shall have a dynamic range of 76 dB.

      - The camera shall offer a minimum sensitivity of 0.4 lx.

      - The camera automatic electronic shutter shall offer a shutter speed of 1/30 (1/25) to 1/15000.

      - The camera shall be capable of capturing and storing images using the following compression standards:

        - H.264 MP (Main Profile)

        - M-JPEG

    - Network Video

      - The camera shall provide direct network connection using H.264 and M-JPEG compression and bandwidth throttling to efficiently manage bandwidth and storage requirements while delivering outstanding image quality.

      - The camera shall allow full camera control and configuration capabilities over the network.

      - The camera shall deliver HD-quality video, at rates up to 30 images per second, via TCP/IP over a 10/100 Base-T, auto-sensing, half/full duplex, RJ45 Ethernet connection.

      - The camera shall conform to the ONVIF Profile S standard.

      - The camera shall conform to protocols: IPv4, IPv6, UDP, TCP, HTTP, HTTPS, RTP/RTCP, IGMP V2/V3, ICMP, ICMPv6, RTSP, FTP, Telnet, ARP, DHCP, SNTP, SNMP (V1, MIB-II), 802.1x, DNS, DNSv6, DDNS, SMTP, iSCSI, UPnP (SSDP), DiffServ (QoS), LLDP, SOAP, Dropbox, CHAP, Digest Authentication.

    - Control

      - The camera shall be configured via a web browser or PC surveillance software.

    - Connectors

      - The camera shall have one 2.5 mm jack for CVBS video out and one RJ-45 for Ethernet.

    - Electrical

      - The camera shall accept either +12 VDC, +24 VDC or Power over Ethernet (48 VDC nominal).

      - The camera shall conform to the IEEE 802.3af (802.3at Type 1) compliant Power over Ethernet network. Power level: Class 1.

      - The camera shall consume 3.84 W (max.).

    - Environmental

      - The camera shall operate in a -30°C to +50°C (-22°F to +122°F) temperature range.

      - The camera can be stored in a -30°C to +70°C (-22°F to +158°F) temperature range.

      - The camera can be operated/stored in 0% to 95% relative humidity (non-condensing).

      - The camera shall offer IP66 ingress protection.

      - The camera shall offer IK08 impact protection.

    - Mechanical

      - The camera dimensions shall be:

        - Diameter 110 mm (4.33 in.)

        - Height 55 mm (2.17 in.).

      - The camera weight shall be 320 g (11.28 oz) approx.

      - The camera color is RAL 9017 and RAL 9003.

      - The camera shall rotate around 3 axes (pan/tilt/rotation: ±175º / ±70º / ±180º)

- – EXECUTION

  - EXAMINATION

    - Examine areas to receive devices and notify adverse conditions affecting installation or subsequent operation.

    - Do not begin installation until unacceptable conditions are corrected.

  - PREPARATION

    - Protect devices from damage during construction.

  - INSTALLATION

    - Install devices in accordance with manufacturer’s instruction at locations indicated on the floor drawings plans.

    - Ensure selected location is secure and offers protection from accidental damage.

    - Location must provide reasonable temperature and humidity conditions, free from sources of electrical and electromagnetic interference.

  - FIELD QUALITY CONTROL

    - Test snugness of mounting screws of all installed equipment.

    - Test proper operation of all video system devices.

    - Determine and report all problems to the manufacturer’s customer service department.

  - ADJUSTING

    - Make proper adjustment to video system devices for correct operation in accordance with manufacturer’s instructions.

    - Make any adjustment of camera settings to comply with specific customer’s need.

  - DEMONSTRATION

    - Demonstrate at final inspection that video management system and devices function properly.

END OF SECTION